Roll No. .......................................						 ID: 2542160

MSC PHYSICS Semester: IV

PHYM2403T: Experimental Techniques in Physics

Maximum Marks: 60							 Time Allowed: - 3 Hrs.

Note:- Attempt any two questions out of four from each Section A and B, carrying 10 marks each. Entire Section C is compulsory, consisting 10 short questions, carrying 2 marks each.

Section – A

1.   Describe in detail sputtering process and its types.

2.   Write notes on:

- Chemical vapour deposition (CVD)

- Electrodeposition

3.   Discuss electrical methods of thickness measurement in detail.

4.  Define a transducer and explain its role in instrumentation. Discuss selection criteria of transducers and their applications.

Section – B

5.     Explain the principle, instrumentation, working and applications of X-ray diffraction (XRD).

6.    Describe the construction and working of SEM.

7.    Explain infrared spectroscopy and its applications.

8.    Write note on Mössbauer spectroscopy.

Section – C

9.	Write short notes on the following questions:

a)	Explain the principle and process of thermal evaporation..

b)	Explain different vacuum systems used in thin film deposition.

c)	Discuss structural analysis techniques used in materials science

d)	Write short note radiation emission methods for thickness measurement.

e)      What are piezoelectric transducers.

f)       Compare X-ray, neutron, and electron diffraction.

h)      Compare STM and AFM.

i)       Define Raman spectroscopy

j)	Discuss mass spectroscopy in short.

k)        Discuss applications of TEM.